District of Columbia Municipal Regulations


3103
TEMPORARY STRUCTURES

Strike Section 3103.1.1 of the International Building Code in its entirety and insert new Section 3101.1.1 to the Building Code in its place to read as follows:

3103.1.1 Permit required.  Temporary structures that cover an area greater than 100 square feet (9.29 m2), including connecting areas or spaces with a common means of egress or entrance, shall not be erected, operated or maintained for any purpose without obtaining a permit from the code official.

SOURCE: Final Rulemaking published at 61 DCR 2782 (March 28, 2014 – Part 2).
The District of Columbia Building Code (2013), referred to as the “Building Code,” consists of the 2012 edition of the International Building Code as amended by the District of Columbia Building Code Supplement (2013)(12  DCMR A). The International Building Code is copyrighted by the International Code Council and therefore is not republished here. However, a copy of the text may be obtained at:
http://publicecodes.cyberregs.com/icod/ibc/2012/index.htm?bu=IC-P-2012-000001&bu2=IC-P-2012-000019.

	
	Building Code Supplement of 2013
12-A DCMR § 3103

	

	
	
	



