1603
EQUIPMENT ─ VENTILATION HOOD SYSTEMS, ADEQUACY

1603.1
Ventilation hood systems and devices shall be sufficient in number and capacity to prevent grease or condensation from collecting on walls and ceilings according to the D.C. Fire Code (2008) incorporating the International Fire Code (2006) or most recent edition as amended by the D.C. Fire Code Supplement, as amended (Subtitle H of 12 DCMR). P   

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
