2303
QUALITY ─ STANDARDS  

2303.1
Water from a public water system shall meet 40 C.F.R. § 141 − National Primary Drinking Water Regulations and District of Columbia drinking water quality standards. P  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
