2304
QUALITY ─ NONDRINKING WATER  

2304.1
A nondrinking water supply shall be used only if its use is approved. P  

2304.2
Nondrinking water shall be used only for nonculinary purposes including, but not limited to, air conditioning, nonfood equipment cooling, and fire protection. P  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
