719        
OPERATION AND MAINTENANCE ─ SYSTEM MAINTAINED IN GOOD REPAIR*  
719.1         
A plumbing system shall be:

(a)
Repaired according to the Plumbing Code; and      





(b)
Maintained in good repair. 

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
