720

DESIGN, CONSTRUCTION AND INSTALLATION ─ SERVICE SINKS

720.1
Service sinks and curbed cleaning facilities shall be provided in accordance with section 721 and the Plumbing Code.

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
