721
SERVICE SINKS ─ NUMBERS AND CAPACITIES
721.1
At least one (1) service sink or one (1) curbed cleaning facility equipped with a floor drain shall be provided and conveniently located for the cleaning of mops or similar wet floor cleaning tools and for the disposal of mop water and similar liquid waste.  

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
