1906
HANDWASHING SINKS - DISPOSABLE TOWELS, WASTE RECEPTACLE

1906.1
A handwashing sink or group of adjacent sinks that is provided with disposable towels or suitable drying devices shall be provided with a waste receptacle as specified in section 1605.3.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

