District of Columbia Municipal Regulations


1406
EMISSION STANDARDS FOR HAZARDOUS AIR POLLUTANTS FOR STATIONARY RECIPROCATING INTERNAL COMBUSTION ENGINES

1406.1
The requirements of 40 C.F.R. 63, subpart ZZZZ (40 C.F.R. §§ 63.6580 – 63.6635 and 63.6645 – 63.6675, tables 1a-1b, tables 2a-2d and, tables 3-8 to subpart ZZZZ of part 63), as amended, together with the terms used and defined, are hereby adopted by reference, except that the word “Administrator” as used in the C.F.R. section shall be taken to mean “Director of the Department of Energy and Environment.” In addition, emergency stationary RICE shall not be permitted to participate in demand response or peak shaving programs pursuant to Subsection 1406.2.  

1406.2
The requirements of 40 C.F.R. § 63.6640, as amended, together with the terms used and defined, are hereby adopted by reference, except that:

(a)
The following language shall not be adopted from 40 C.F.R. § 63.6640(f): “emergency demand response,”;

(b)
The language from 40 C.F.R. §§ 63.6640(f)(2)(ii) shall not be adopted;

(c)
The following language shall not be adopted from 40 C.F.R. § 63.6640(f)(3): “and emergency demand response”; 

(d)
The following language from 63.6640(f)(4) shall not be adopted: “and emergency demand response” and “Except as provided in paragraphs 4(f)(i) and 4(f)(ii) of this section,” ; 

(e)
The language from 40 C.F.R. §§ 63.6640(f)(4)(i)-(ii) shall not be adopted; and
(f)
The word “Administrator” as used in the C.F.R. sections shall be taken to mean Director of the Department of Energy and Environment.

1406.3
Any violation of any of the individual requirements of 40 C.F.R. 63, subpart ZZZZ or Subsections 1406.1 through 1406.2 of this chapter, shall a constitute a separate offense for each and every day of the violation(s) of each and every requirement for the purposes of applying the penalty provisions in 20 DCMR § 105.
SOURCE: Final Rulemaking published at 62 DCR 16111 (December 18, 2015). 
	
	Environment
20 DCMR § 1406

	

	
	
	



