6253
TOXIC AND POISONOUS SUBSTANCES, LEAD PAINT AND ASBESTOS

6253.1
The facility shall maintain onsite only those poisonous, toxic or flammable substances which are required to maintain the facility. The facility shall store all such substances in accordance with the manufacturer's instructions, in locked storage areas, separate and apart from food, and in locations that are inaccessible to residents.
6253.2
The facility shall label all containers containing toxic or poisonous substances with descriptive information, including the contents and antidote.

6253.3
The facility's indoor areas shall comply with all applicable federal and local laws and regulations governing lead paint and asbestos.


SOURCE: Final Rulemaking published at 48 DCR 8675, 8721 (September 21, 2001).

