6252
NON-MEDICAL EMERGENCY PLAN

6252.1
The facility shall develop and follow a plan for meeting potential emergencies, such as fire, power outage, severe weather conditions and staffing problems including individual staff person's duties, systems for notification of appropriate persons and specification of evacuation routes and procedures, with clearly marked diagrams.
6252.2
The facility shall train staff on non-medical emergency procedures on an annual basis. The facility shall document that each staff person is trained in implementation of the non-emergency medical plan.

6252.3
One (1) staff person shall be assigned responsibility for coordinating the planning and procedures for meeting potential non-medical emergencies.

6252.4
The facility shall post the plans and procedures at suitable locations throughout the facility.


SOURCE: Final Rulemaking published at 48 DCR 8675, 8721 (September 21, 2001).

