2400
MATERIALS ─ APPROVED MATERIALS, USE  

2400.1
A plumbing system and hoses conveying water shall be constructed and repaired with approved materials according to the D.C. Plumbing Code (2008) incorporating the International Plumbing Code 2006, as amended by the D.C. Plumbing Code Supplement  (Subtitle F of 12 DCMR).  

2400.2
A water filter shall be made of safe materials. P
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
