2306
QUANTITY AND AVAILABILITY ─ PRESSURE  

2306.1
Hot or cold water under pressure shall be provided to all fixtures, equipment, and nonfood equipment that are required to use hot or cold water, except that water supplied as specified in §§ 2308.1(a) and (b) to a temporary food establishment or in response to a temporary interruption of a water supply need not be under pressure. Pf  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
