2308
DISTRIBUTION, DELIVERY, AND RETENTION ─ ALTERNATIVE WATER SUPPLY  

2308.1
Water meeting the requirements specified in §§ 2300 through 2306 shall be made available for a mobile facility, for a temporary food establishment without a permanent water supply, and for a food establishment with a temporary interruption of its water supply through:  

(a)
A supply of containers of commercially bottled drinking water; Pf
(b)
One (1) or more closed portable water containers; Pf
(c)
An enclosed vehicular water tank; Pf
(d)
An on-premises water storage tank; Pf or

(e)
Piping, tubing, or hoses connected to an adjacent approved source. Pf
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
