723
SEWAGE AND RAINWATER DISPOSAL ─ OTHER LIQUID WASTES AND RAINWATER  
723.1
Condensate drainage and other nonsewage liquids and rainwater shall be drained from point of discharge to disposal according to applicable District laws and regulations.  

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
