722
SEWAGE AND RAINWATER DISPOSAL ─ APPROVED SYSTEM*  

722.1
Sewage shall be disposed through an approved facility that is a public sewage treatment plant or an individual sewage disposal system that is sized, constructed, maintained, and operated according to the Plumbing Code.

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
