1910
TOILETS AND URINALS TOILET TISSUE, RECEPTACLE AVAILABILITY

1910.1
A supply of toilet tissue shall be available at each toilet.

1910.2
A covered receptacle for sanitary napkins shall be provided, as appropriate, in accordance with section 1606.1.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

