5409
ENFORCEMENT
5409.1
In the event that an Owner fails to: allow inspections; comply with any requirement to install required devices; report test results; install, repair, maintain or test a backflow preventer; fails to maintain a private water system so as to prevent a cross connection; fails to maintain a private water system in accordance with these regulations; or fails to comply with a notice, direction or order of the General Manager issued pursuant to these regulations, WASA may do the following:

(a)
Immediately terminate the water supply to the property;

(b)
Refuse to establish a water and sewer account for the property;

(c)
Refuse to supply water and sewer service to the property; or

(d)
Request that the building permit for the property be rescinded and not reinstated until the necessary backflow preventers are installed and inspected.


SOURCE: Final Rulemaking published at 48 DCR 1743 (February 23, 2001).

