2402
DESIGN, CONSTRUCTION, AND INSTALLATION ─ HANDWASHING SINK, WATER TEMPERATURE, AND FLOW  

2402.1
A handwashing sink shall be equipped to provide water at a temperature of at least thirty-eight degrees Celsius (38o C) (one hundred degrees Fahrenheit (100o F)) through a mixing valve or combination faucet. Pf  

2402.2
A steam mixing valve shall not be used at a handwashing sink.  

2402.3
A self-closing, slow-closing, or metering faucet shall provide a flow of water for at least fifteen (15) seconds without the need to reactivate the faucet. 

2402.4
An automatic handwashing facility shall be installed in accordance with manufacturer’s instructions.

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
