2401
DESIGN, CONSTRUCTION, AND INSTALLATION ─ APPROVED SYSTEM AND CLEANABLE FIXTURES

2401.1
A plumbing system shall be designed, constructed, and installed according to the D.C. Plumbing Code (2008) incorporating the International Plumbing Code 2006, as amended by the D.C. Plumbing Code Supplement  (Subtitle F of 12 DCMR). P  

2401.2
A plumbing fixture such as a handwashing sink, toilet, or urinal shall be easily cleanable. P 

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
