803

CLEANABILITY ─ FLOOR AND WALL JUNCTURES, COVED, AND ENCLOSED OR SEALED  
803.1
The floors in a massage establishment or health spa facility in which cleaning methods other than water flushing are used, the floor and wall junctures shall be coved and closed to no larger than one millimeter (1 mm) or one thirty-second of an inch (1/32 in.).  

803.2


The floors in a massage establishment or health spa facility in which water flush cleaning methods are used shall be provided with floor drains and be graded to drain. The floor and wall junctures shall be coved and sealed.  

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
