2004
PHYSICAL FACILITIES - CLEANING VENTILATION SYSTEMS, NUISANCE, AND DISCHARGE PROHIBITION

2004.1
Intake and exhaust air ducts shall be cleaned and filters changed so they are not a source of contamination by dust, dirt, and other materials.

2004.2
If vented to the outside, ventilation systems shall not create a public health hazard or nuisance, or unlawful discharge.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

