2102
VENTILATION OF SMOKING AREA IN THE WORKPLACE

2102.1
For the purpose of applying the Acts to designated smoking areas permitted because the employer is exempt under D.C. Official Code § 7-743 or has obtained an economic hardship waiver under D.C. Official Code § 7-745, all buildings constructed before August 3, 1991, shall be deemed to be in compliance with the ventilation requirements of the District of Columbia Construction Codes, unless the building has undergone a renovation since August 3, 1991, that required a building permit.


SOURCE: As amended by Final Rulemaking published at 39 DCR 5926, 5929 (August 7, 1992); as amended by Final Rulemaking published at 54 DCR 10623 (November 2, 2007).

