6401
COMPLIANCE WITH DISTRICT LAWS, FEDERAL LAWS, AND INDUSTRY STANDARDS/GUIDELINES

6401.1
The most recent versions of the following federal laws and regulations or any successor standards are hereby incorporated by reference:

(a)
The Virginia Graeme Baker Pool and Spa Safety Act of 2007, approved December 19, 2007 (Pub.L.110-140);

(b)
40 C.F.R. Part 141 - National Primary Drinking Water Regulations;

(c)
National Sanitation Foundation NSF-ANSI Standard 60, 2005 Drinking Water Treatment Chemicals - Health Effects;

(d)
National Sanitation Foundation NSF/ANSI Standard 50-2007 Circulation System Components and Related Materials for Swimming Pool, Spas/Hot Tubs, dated April 2007, approved substitute filters;

(e)
American National Standard ASME A112.19.8 - 2007 Suction Fittings For Use in Swimming Pools, Wading Pools, Spas, and Hot Tubs published by the American Society of Mechanical Engineers; performance standard;

(f)
ASME/ANSI standard A 112.19.17 Safety Standard Vacuum Release System or ASTM standard F2387;

(g)
ANSI /APSP-7 American National Standard for Suction Entrapment Avoidance in Swimming Pools, Wading Pools, Spas, Hot Tubs, and Catch Basins;

(h)
U.S. Consumer Product Safety Commission (CPSC) Publication No. 362 Guidelines, entitled "Safety Barrier Guidelines for Home Pools; "Guidelines for Entrapment Hazards: Making Pools and Spas Safer"; and any other pool safety guidelines established by the Commission;

(i)
National Collegiate Athletic Association, 2003;

(j)
Federation Internationale de Natation Amateur (FINA), 2002-2005 Handbook;

(k)
1998-1999 Official Rules of Diving & Regulation of Regulation of United States Diving Inc.;

(l)
2003 United States Swimming Rules and Regulations; and

(m)
National Federation of State High School Associations, 2002-2003.


SOURCE: Final Rulemaking published at 55 DCR 012845 (December 26, 2008).

