2405
DESIGN, CONSTRUCTION, AND INSTALLATION ─ CONDITIONING DEVICE, DESIGN  

2405.1
A water filter, screen, or other water-conditioning device installed on water lines shall be designed to facilitate disassembly for periodic servicing and cleaning. A water filter element shall be of the replaceable type.
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
