2408
NUMBERS AND CAPACITIES ─ SERVICE SINKS 

2408.1
At least one (1) service sink or one (1) curbed cleaning facility equipped with a floor drain shall be provided and conveniently located for the cleaning of mops or similar wet floor cleaning tools and for the disposal of mop water and similar liquid waste.  

2408.2
Toilets and urinals shall not be used as a service sink for the disposal of mop water and similar liquid waste.

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
