2902
CLEANABILITY ─ FLOOR AND WALL JUNCTURES, COVED, AND ENCLOSED OR SEALED  

2902.1
In food establishments in which cleaning methods other than water flushing are used for cleaning floors, the floor and wall junctures shall be coved and closed to no larger than one millimeter (1 mm) or one thirty-second of an inch (1/32 in.).  

2902.2
The floors in food establishments in which water flush cleaning methods are used shall be provided with drains and be graded to drain and the floor and wall junctures shall be coved and sealed.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
