2924
STAGE 1 SUBMITTAL REQUIREMENTS

2924.1 
An applicant requesting approval of a Stage 1 Review Application shall provide:

(a) A written description of the proposal, including a description of how the applicable review criteria are met;

(b) Site plans, elevations, renderings, photosimulations, aerial axonometric massing diagrams, or any other suitable materials necessary to describe the project;

(c) For any building unit located south of H Street, ground-level view studies from multiple vantage points showing the relationship between the proposed building unit and Union Station;

(d) A circulation plan, including the location of all transportation ways, as defined in § 2900.5, off-street parking spaces and loading berths, including an indication of which spaces are designated for which use, and a reasonable numerical range of the number of parking spaces to be provided;  The circulation plan shall show how the design facilitates north-south bicycle movement through the site and to areas outside the site, including the Metropolitan Branch Trail;

(e) The area and dimensions of the application site;

(f) The gross floor area and floor area ratio for each building unit, including a break-down for each use, and the total gross floor area and floor area ratio for the building, including a breakdown for each use;

(g) A comprehensive transportation assessment for the development under consideration, addressing pedestrian, bicycle, transit, and automobile capacity and circulation;

(h) Estimated quantities of potable water required by the project, and of sanitary sewage and storm water to be generated, including the methods of calculating those quantities; and

(i) Any other information needed to understand the project.



SOURCE: Notice of Final Rulemaking published at 58 DCR 4788, 4806 (June 3, 2011).
