District of Columbia Municipal Regulations


3799
DEFINITIONS

3799.1
For the purposes of this section, the following terms shall have the meanings ascribed below:

Accuracy check – an evaluation made by an evidential instrument of a reference standard with a predicted value.  The accuracy check occurs during the evidential breath test sequence.

Certification – the process by which reference standards are evaluated and a series of tests performed to verify the accuracy of the evidential instrument.

DFS – The Department of Forensic Sciences.
Evidential instrument – an analytical breath alcohol measuring device that has been issued a “Certificate of Instrument Accuracy” as defined by the Quality Manual and has been placed into field service to collect evidence.
Licensed operator – an individual licensed under this title by the Program Manager, or designee, as an operator.

Licensed technician – an individual licensed under this title by the Program Manager, or designee, as a technician.

OCME – The Office of the Chief Medical Examiner.

Operator’s Manual – the training manual for operators of evidential instruments, entitled “Basic Training Program for Breath Alcohol Operators,” maintained by the Program Manager, or designee.

Predicted value – a value produced by an evidential instrument for each evidential breath test based upon the barometric pressure compensation and the reference standard value.

Quality Manual – the manual for administration of the District’s Breath Alcohol Program, entitled “Quality Management Manual Breath Alcohol Program,” maintained by the Program Manager, or designee.

Reference standard – a commercial dry gas standard consisting of ethanol and balanced nitrogen traceable to the National Institute of Standards and Technology with a verified known value.  The verified known value for evidential breath alcohol tests is 0.082g of alcohol per 210L of air. 

Subject – an individual that is given an evidential breath test which is administered by a licensed operator. 

Subject test – an evidential breath alcohol test of a subject that meets the criteria defined in the Operator’s Manual.

Technician Training Manual – the manual that defines the training program for technicians in the Breath Alcohol Program. 

SOURCE: Final Rulemaking published at 63 DCR 11161 (September 2, 2016).

	
	Corrections, Courts, and Criminal Justice
28 DCMR § 3799

	

	
	
	



