District of Columbia Municipal Regulations


1400 EPA
Insert a new EPA referenced standard in Chapter 14 of the Plumbing Code to read as follows:

	EPA


	Environmental Protection Agency

1200 Pennsylvania Avenue, NW

Washington, DC 20460

	Standard

Reference

Number
	Title
	Referenced in 

code section

number

	Water Sense 

October 2007
	High-efficiency Lavatory Faucet Specification


	Table 604.4

	Water Sense 

August 2009
	WaterSense Specification for Flushing Urinals


	Table 604.4

	Water Sense 

March 2010
	WaterSense Specification for Showerheads


	Table 604.4

	Water Sense 

May 2011

Table 604.4


	WaterSense Specification for Tank-Type Toilets


	Table 604.4

	Water Sense 

August 2011

Table 604.4


	WaterSense Landscape Water Budget Tool Version 1.01 


	614.1.1


SOURCE: Final Rulemaking published at 61 DCR 3169 (March 28, 2014 – Part 2); as corrected by Errata Notice published at 61 DCR 5246 (May 23, 2014).

The District of Columbia Plumbing Code (2013), referred to as the “Plumbing Code,” consists of the 2012 edition of the International Plumbing Code  as amended by the District of Columbia Plumbing Code Supplement (2013) (12 DCMR F). The International Plumbing Code is copyrighted by the International Code Council and therefore is not republished here. However, a copy of the text may be obtained at: http://publicecodes.cyberregs.com/icod/ipc/2012/index.htm?bu=IC-P-2012-000004&bu2=IC-P-2012-000019.
	
	Plumbing Code Supplement of 2013
12-F DCMR § 1400

	

	
	
	



