District of Columbia Municipal Regulations


507 
BUILDING ENVELOPE MOISTURE CONTROL

Strike Section 507.1 of the International Green Construction Code in its entirety and insert new Section 507.1 in the Green Construction Code in its place to read as follows:

507.1 
Moisture control preventative measures.

Moisture preventative measures shall be inspected in accordance with Section 109 of 12 DCMR A and applicable Administrative Bulletins for the categories listed in Items 1 through 7.  

1.  
Foundation sub-soil drainage system. 

2.  
Foundation waterproofing. 

3.  
Foundation dampproofing. 

4.  
Under slab water vapor protection. 

5.  
Flashings: Windows, exterior doors, skylights, wall flashing and drainage systems. 

6.  
Exterior wall coverings. 

7.  
Roof coverings, roof drainage, and flashings.

SOURCE: Final Rulemaking published at 62 DCR 103 (January 2, 2015).
The District of Columbia Green Construction Code (2013) , referred to as the “Green Construction Code,” consists of the 2012 edition of the International Green Construction Code published by the International Code Council (ICC), as amended by the District of Columbia Green Construction Code Supplement (2013)(12 DCMR K).  The International Green Construction Code is copyrighted by the International Code Council and therefore is not republished here.  However, a copy of the text may be obtained at:
http://publicecodes.cyberregs.com/icod/igcc/2012/index.htm?bu=IC-P-2012-000023&bu2=IC-P-2012-000019. 

	
	Green Construction Code Supplement of 2013
12-K DCMR § 507

	

	
	
	



