District of Columbia Municipal Regulations


1705
CONDEMNATION OF A DISPENSING SYSTEM, STORAGE TANK, OR OTHER DISPENSING DEVICE
1705.1
To condemn a service station dispenser nozzle as required by § 1704.3, the DCRA inspector shall affix a condemnation tag and/or boot to the service station dispenser and place a wire seal over the service station dispenser nozzle.  The condemnation tag and/or boot shall state that it is unlawful to remove, break, mutilate, or destroy any notice, seal, or order issued by DCRA. 

1705.2
If the gasoline which failed the octane rating test is dispensed from a blended service station dispenser, the entire blended service station dispenser shall be condemned and no gasoline shall be dispensed from that blended service station dispenser.

1705.3
The condemnation tag and/or boot shall not be removed by a DCRA inspector until the DCRA inspector has re-inspected the service station dispenser and determined it to be in compliance.

1705.4
No person other than a DCRA inspector shall remove, break, mutilate, or destroy the condemnation tag and/or boot.

SOURCE: Final Rulemaking published at 63 DCR 4071 (March 18, 2016).
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