2409
NUMBERS AND CAPACITIES ─ BACKFLOW PREVENTION DEVICE, WHEN REQUIRED 

2409.1
A plumbing system shall be installed to preclude backflow of a solid, liquid, or gas contaminant into the water supply system at each point of use at the food establishment, including on a hose bibb if a hose is attached or on a hose bibb if a hose is not attached and backflow prevention is required by the D.C. Plumbing Code (2008) incorporating the International Plumbing Code 2006, as amended by the D.C. Plumbing Code Supplement (Subtitle F of 12 DCMR) by:  

(a)
Providing an air gap as specified in § 2403; P or

(b)
Installing an approved backflow prevention device as specified in § 2404.P  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
