808
PHYSICAL FACILITIES ─ MAINTENANCE, REPAIRS, FLOOR
808.1
The physical facilities shall be maintained in good repair.  
808.3

Every floor and floor covering, such as carpet, shall be kept clean and in good repair, sanitized or replaced so that it does not become a hazard to health or safety.
Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
