District of Columbia Municipal Regulations


904
NET METERING-RELATED EQUIPMENT

904.1
The metering equipment installed for net energy metering shall be capable of measuring the flow of electricity in two directions.

904.2
Nothing in this section shall prohibit the Electric Company from installing additional meters to separately record electricity supplied to an eligible customer-generator from the electric grid and the electricity generated and supplied to the electric grid by the eligible customer-generator. However, no customer-generator that elects to be billed on a net energy basis shall be charged directly for the cost of the additional meters or other necessary equipment.  

SOURCE: Final Rulemaking published at 52 DCR 1587 (February 18, 2005); as amended by Final Rulemaking published at 55 DCR 7302 (July 4, 2008); as amended by Final Rulemaking published at 57 DCR 5249 (June 18, 2010).
	
	Public Utilities and Cable Television
15 DCMR § 904

	

	
	
	



