1204
EQUIPMENT - TEMPERATURE MEASURING DEVICES, ACCURACY

1204.1
Food temperature measuring devices that are scaled only in Celsius or dually scaled in Celsius and Fahrenheit shall be accurate to plus or minus one degree Centigrade (±1° C)) (plus or minus two degrees Fahrenheit (± 2° F)) in the intended range of use.

1204.2
Food temperature measuring devices that are scaled only in Fahrenheit shall be accurate to plus or minus two degrees Fahrenheit (±2 ° F) (plus or minus one degree Centigrade (±1° C)) in the intended range of use.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

