2207
CHEMICALS - BOILER WATER ADDITIVES, CRITERIA*

2207.1
Chemicals used as boiler water additives shall meet the requirements specified in 21 CFR 173.310 - Boiler water additives.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

