900
PRIVIES AND WATERCLOSETS

900.1
No person shall in the District of Columbia deposit or store any human excreta or body wastes other than in a properly constructed privy or watercloset.

900.2
No system or method for the disposal of human excreta of body wastes, other than a water-closet connected with a public sewer, shall be installed or maintained, except as otherwise specifically permitted in this chapter and in accordance with the provisions of this chapter.

900.3
All waterclosets shall be furnished with a supply of running water adequate for flushing purposes, and shall be maintained so as not to endanger the public health or otherwise create a nuisance.

900.4
[Repealed] D.C. Law 6-95, 33 DCR 594 (January 31, 1986).


AUTHORITY: Unless otherwise noted, the authority for this chapter is An Act approved April 22, 1940, 54 Stat. 155, D.C. Code §6-601 et seq. (1995 Repl. Vol.); §412 of the District of Columbia Self-Government and Governmental Reorganization Act, 87 Stat. 790,Pub.L. 93-198, D.C. Code §1-227(a) (1992 Repl. Vol.).


SOURCE: Commissioners' Order No. 300,41712, dated August 3, 1944, 8 DCRR §§C-320 and C-3110, Health Regulations Supplement; as amended by §17 of the Wastewater System Regulation Amendment Act of 1985, D.C. Law 6-95, 33 DCR 577, 594 (January 31, 1986).

