1903
DISCHARGE PERMIT SELF-MONITORING

1903.1
Self-monitoring performed as a requirement of a discharge permit issued under § 7 of the Act shall be conducted in accordance with a quality assurance manual.

1903.2
The quality assurance manual shall contain the information specified in § 1902 and a description of flow measurement and calibration techniques, methods and frequencies.

1903.3
The results of spikes, replicates, standards and duplicates shall be submitted annually by the permittee to the Director.


SOURCE: Final Rulemaking published at 42 DCR 654, 656 (February 3, 1995).

