2926

STAGE 2 SUBMITTAL REQUIREMENTS
2926.1 
An applicant requesting approval of a Stage 2 Review Application shall provide:
(a)
Information required in § 2924.1(a) through (f);

(b)
Elevations, detail drawings, renderings, or other graphics that clearly demonstrate the proposed architectural details, signage, materials to be used, and the lighting scheme for the building units;

(c) 
Typical floor plans and sections that show the location of uses, access to uses, points of fenestration, general internal circulation, projections and any other feature necessary to understand the project, and a table showing the floor area of each use;

(d)
A detailed landscaping plan;

(e)
A list of environmental features and characteristics of the development; and

(f)
Any other information needed to understand the overall architectural character of the project.


SOURCE: Notice of Final Rulemaking published at 58 DCR 4788, 4808 (June 3, 2011).
