2413
LOCATION AND PLACEMENT ─ CONDITIONING DEVICE 

2413.1
A water filter, screen, and other water-conditioning device installed on water lines shall be located to facilitate disassembly for periodic servicing and cleaning.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
