2412
LOCATION AND PLACEMENT ─ BACKFLOW PREVENTION DEVICE   

2412.1
A backflow prevention device shall be located so that it may be serviced and maintained.
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
