2415
OPERATION AND MAINTENANCE ─ PROHIBITING A CROSS CONNECTION

2415.1
A person shall not create a cross connection by connecting a pipe or conduit between the  drinking water system and a nondrinking water system or a water system of unknown quality. P
2415.2
The piping of a nondrinking water system shall be durably identified so that it is readily distinguishable from piping that carries drinking water. Pf
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
