2909
FUNCTIONALITY ─ HEATING, VENTILATING, AIR CONDITIONING SYSTEM VENTS, AND TEMPERATURE 

2909.1
Heating, ventilating, and air conditioning systems shall be designed and installed so that make-up air intake and exhaust vents do not cause contamination of food, food-contact surfaces, equipment, or utensils.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
