812
PHYSICAL FACILITIES ─ SMOKE ALARMS
812.1
Each distinct area of a massage establishment or health spa facility separated by a doorway, whether or not a door is currently present, shall be equipped with at least one (1) working smoke alarm which is installed, maintained, and tested according to the District’s International Fire Code (2006 edition) or most recent edition, as specified in section 102.1(a)(iv).

812.2
The smoke alarm shall be free of foreign matter such as tape or paint which could impair its proper function.

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
