1210
EQUIPMENT - GOOD REPAIR AND CALIBRATION, TEMPERATURE AND PRESSURE MEASURING DEVICES

1210.1
Instruments and controls used for measuring, regulating, or recording temperatures, acidity, water activity, humidity, or other conditions that control or prevent the growth of undesirable microorganisms in food shall be accurate and adequately maintained, sufficient in number for their designated uses, and calibrated at the frequency recommended by the manufacturer of the device.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

