2102
DESCRIPTION OF GENERATING FACILITY

2102.1
The description of the generating facility shall include the following:

(a)
Location;

(b)
All important design and engineering features, including fuel requirements, heat rates, emission rates, space requirements, transportation facilities, water requirements and transmission requirements;

(c)
Operational features, including operation and maintenance personnel and equipment;

(d)
The schedule for engineering, construction, and operation of the generating stations;

(e)
The impact of the proposed generating station on system operations, reliability, reserve margins, and capacity factors;

(f)
A statement of the reasons for the selection of the design and the site of the generating facility, including the location and identification of the following sites from which the project would be clearly visible:

(1)
Residential structures;

(2)
Historical structure and land sites;

(3)
Institutional land, including school hospitals, and pre-school facilities;

(4)
Recreational area;

(5)
Aesthetic;

(6)
Archaeological;

(7)
Wildlife management area; and

(8)
Park or forest.


SOURCE: Final Rulemaking published at 40 DCR 8359, 8363 (December 3, 1993); as amended by Final Rulemaking published at 51 DCR 8641 (September 3, 2004).

