6412
WATER QUALITY - APPROVED SOURCE*

6412.1
The only approved system for pool water shall be potable water from the District of Columbia public water system.


SOURCE: Final Rulemaking published at 55 DCR 012845 (December 26, 2008).

