6413
WATER QUALITY - STANDARDS*

6413.1
Potable water shall be used to supply water to all pools and shall meet the requirements of the applicable provisions of 40 C.F.R. Part 141 - National Primary Drinking Water Regulations, and the District of Columbia drinking water quality standards.


SOURCE: Final Rulemaking published at 55 DCR 012845 (December 26, 2008).

