2418
OPERATION AND MAINTENANCE ─ SYSTEM MAINTAINED IN GOOD REPAIR  

2418.1
A plumbing system shall be:

(a)
Repaired according to the D.C. Plumbing Code (2008) incorporating the 
International Plumbing Code 2006, as amended by the D.C. Plumbing 
Code Supplement (Subtitle F of 12 DCMR); and      

(b)
Maintained in good repair. 

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
